## Optical components
Failure date | Model number | Failure Note | Hutch | Location | RMA requested? | RMA quote | Sent | Received | Comment
1899-12-31 | 1234 | DOA/Cable/Mech/Elec | hutch | HRM_1_1 | No | RMA123 | 1900-01-01 | 1900-01-02
2024-02-29 | STT50.8iv-6 | Still investigating | chemRIXS | ATM_MP1_IMG1_BS1 | No | back in circulation |  |  | might still work, possibly encoded/unencoded on same sensor module
2024-02-14 | CLL42lc-47 | Still investigating | chemRIXS | COM_MP1_FBC4_LM1 | No | back in circulation |  |  | works for a few hours, possibly encoded/unencoded on same sensor module
2024-03-18 | STT25.4v-21 | Power outage | TMO IP1 | HRM_MP1_MR4 | Yes | 101-170-013061 | 2024-06-18 |  | with SLAC shipping #39079
2024-03-18 | SLLV42sc-463 | Power outage | TMO IP1 | HRM_MP1_PC1 | Yes | 101-170-013061 | 2024-06-18 |  | with SLAC shipping #39079
2024-02-14 | STT25.4v-24 | Power outage | chemRIXS | EJX_MP1_MR1 | Yes | 101-170-013061 | 2024-06-18 |  | with SLAC shipping #39079
2024-01-01 | STT25.4v-27 | Cable | TMO IP1 | ATM_MP1_MR0 | Yes | 101-170-013061 | 2024-06-18 |  | with SLAC shipping #39079
2023-11-22 | STT25.4v-25 | Still investigating |  |  | Yes | RMA22810755 | 2023-11-22 |  | piezo burned, need to manufacture a new STT-25.4-VE
2023-11-22 | STT50.8v-6 | Still investigating | chemRIXS |  | Yes | RMA22810755 | 2023-11-22 |  | cable damaged
2023-11-22 | STT50.8v-29 | Still investigating |  |  | Yes | RMA22810755 | 2023-11-22 |  | piezo burned, need to manufacture a new STT-50.8-VE
2023-11-22 | SLC1780ds-40 | Still investigating |  |  | Yes | RMA22810755 | 2023-11-22 |  | no repair needed
2023-11-22 | SR7012l-18 | Still investigating |  |  | Yes | RMA22810755 | 2023-11-22 |  | piezo burned, replace piezo drive
2024-06-12 | sllv42lc-473 | Still investigating | chemRIXS | EJX_MP1_LS1_LM1 | No